## Slide 1: Tokyo (residual) demand delta evaluation
2025/7/10, Hishida

## Slide 2: To predict 2024FY demand
Expected value: maximum error ,2,500GWh in July
2024FY weather: maximum error 1,000GWh in January, 2023FY weather : maximum error 1,500GWh in October
1,000GWh
1,500GWh
Calibrationで2017FY~2023FYを使っている

## Slide 3: Sensitivity analysis in Tokyo (temperature using 2023FY)
Chart: Tokyo sensitivy analysis [GWh / monthly]
| April | May | June | July | August | September | October | November | December | January | February | March
demand | -209.1983 | 86.7384 | 359.653 | 861.9488 | 836.7706 | 667.6624 | 104.5558 | -298.9756 | -567.643 | -558.8239 | -491.5881 | -476.0255
residual demand | -187.3501 | 29.6619 | 262.325 | 677.427 | 647.7932 | 605.0774 | 142.3859 | -272.7927 | -515.6239 | -525.5939 | -464.035 | -481.7158
1 degree change might hit 1 cargo in July ~ September and December ~ March
 | demand | residual demand
April | -209.198 | -187.35
May | 86.73842 | 29.66189
June | 359.653 | 262.325
July | 861.9488 | 677.427
August | 836.7706 | 647.7932
September | 667.6624 | 605.0774
October | 104.5558 | 142.3859
November | -298.976 | -272.793
December | -567.643 | -515.624
January | -558.824 | -525.594
February | -491.588 | -464.035
March | -476.025 | -481.716
これはモデルの感応度→Generationまではいった結果はモデルの出力として欲しい
Demandまでであれば、実績の感応度が欲しい（これは常にAppendixにいれておく） → 需要、残余需要 → 期間 （コロナに注意） → 学習期間が2017になっているのはなんで？→データない？最近のトレンドを捕らえたい？ → 月ではなく週ごとにみてデータ点をふやすのもありか

## Slide 4: Details
Figures
  Demand: Demand
  Residual demand: ResidualDemand
Gits
  hhishida-jera/EvaluateDelta
Note
  Need discussion with Fuel Optimization Unit?
    Fuel / unit is needed
Demand delta in July, delta = 861
Residual demand delta in July , delta = 677